|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/ Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1427SC_Fm7_120MVGE.doc |  |

One (1) Unused 7EA Brush Generators

Specifications

Model 7EA Brush

Year manufactured:			2002

Output:				102.540 MVA

Terminal Voltage:			13,800 volts

Terminal Amperage:			5,020 amps

Power Factor:				0.85

Phase Connection:			STAR

Frequency:				60 Hz

Cooling:				Air Cooled

Rotor & Stator Insulation Class:	F

Frame:					BDAX8 – 365ER

Exciter Voltage:			145 volts

Exciter Amperage:			1575 amps

Download Performance Data

Download Genend Specs

Stored on US