|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1523SC_All501Mob_60Hz.doc |  |

3 x RR Allison 501KB 3000 KW 12500/13200V 60HZ, Mobile Units

US $ 830,000 Each

 
Fuel:			#2 Fuel Oil 
Starter:		Diesel Start 
Trailer Mounted 
Updated Controls 

EN Generator 
Air Cooled 
Output:		3775 Kva / 3020 Kw 
Voltage:		12500 / 13200 V 
Speed:			1800 Rpm 
Phase:			3 
Frequency:		60 Hz 

OEM Maintained 

Hours / Starts 

Unit 1 - 2045 / 1061

Unit: - 1495 / 955

Unit : - 2135 / 1240

Year Mfg.:		 1979 
Shut Down:		 February 2010