|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Inventory.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1541SRI_W251B11CC_50Hz.doc |  |

Westinghouse W251B11 136mw 50hz HFO Combined Cycle Power Plant

Asking Price:			.US.$5,500,000 FOB

Unit No. 1

Westinghouse W251B11 50mw Gas Turbine

Start:				2005

Stop:				2007 August

Running Hours:		33309

Last Overhauled:		2007 May.

Fuel::				No. 180 Heavy Fuel Oil 110。C 5427

Speed:				3000rpm

Compression Ratio:		15:1

Alternator:			Brush Uk

Rating:				65882kva

Out Put 			42.51mw

Voltage:			11.5kva

Frequency:			50hz

Spped:				3000rpm.

Pf.:				0.85

Unit No. 2

Westinghouse W251B11 50mw Gas Turbine

Start:				2005

Stop:				2007 August

Running Hours:		33948

Last Overhauled:		2006 Dec.

Fuel::				No. 180 Heavy Fuel Oil 110。C 5427

Speed:				3000rpm

Compression Ratio:		15:1

Alternator:			Brush Uk

Rating:				5882kva

Out Put:			42.51mw

Voltage:			11.5kva

Frequency:			50hz

Speed:				3000rpm.

Pf.:				0.85

Steam Turbine:

QFW-36-2:			36mw

Start:				2005

Stop:				2007 August

Running Hours:		43709

Last Overhauled:		2006.Jan.

Fuel::				No. 180 Heavy Fuel Oil 110。C

Alternator:			Najing Steam Turbine Group

Rating:				45mva

Out Put: 			36mw

Voltage:			10.5 Kva

Frequency:			50hz

Speed:				3000rpm.

Pf.				:0.8

Boiler:				Hanzhou Boiler Manufacture