|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1549RC_GE8000KVA_Genend.doc |  |

1 x Used 6566/8000KVA G.E. AC Generator 3/60/4160V, 3600 RPM

Asking Price:				US $90,000.00 on site . As is , where is

Removal estimate::			 US $8,000.00

VOLTAGE REGULATOR INCLUDED

YOM:1948

Immediate Delivery

GE AC Generator

Rating:					8000 KVA

Frequency:				60

Voltage:				4160V

Speed:					3600 RPM

Exciter:				33KW

125VDC

Armature Amps			911

Field Amps:			             161

P;es:					2-pole

Phase:					3 phase

110°C On Armature by detector

125°C on Field by resistance

Max cold air temperature:		 40°C

Inlet water:				70°F

Armature Volts:			4160

Power Factor:			            0.99

New cooler Installed:			2000

Originally rated at 6566 KVA. Rerateddue to upgraded cooler

Approximate Dimensions:   		16' - 0"L x 7' - 8"W x 8' - 0"H

Approximate Weight:            		46,900 Lbs