|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1555TM_Alst6551CC_50Hz.doc |  |

1 x Recently OH Alstom PG6551B 55MW HFO 11kV 55MW CC Per Plant

Asking Price;			US $7.75 FOB China port

Gas Turbine

Manufacturer:				Alstom, France

Model:					PG6551B

Controls:				Mark V

Fuel:					LFO, HFO 180

Year Manufactured:			1998

1.1.2 Main Equipment

Generator

Manufacturer:				Alstom, France

Model:					T190-240

Rated Capacity:			37000KW

Rated Voltage:			1100V

Rated Current:			427A

Frequency:				50Hz

Speed:					3000rpm

Power Factor:				0.8

Cooling:				Air

Connection Type:			Y

Exciter

Model:					KJ70-10,5 phase. Non Fuse

Rated Output:				142.5KW

Rated Voltage:			264V

Rated Current:			540A

Frequency:				200Hz

Exciter Current:			63A

Cooling:				Air

Exciter Voltage:			121V

Compressor

Type:					Air-Flow Type

Speed:					5114rpm

Exhaust Temp.:			315C

IGV Type:				Hydraulic Adjustable

Series:					17

Turbine

Type:					Single Axis, Axial Flow

Series:					3

Speed:					5114rpm

Nozzel Type:				Fixed

Inlet Temp.:				1093C

Exhaust Temp:			529-544C

Combustion Chamber

Type:					Can-Type Turn Flow

Quantity:				10

Spark Plug:				2

Flame Detector:			4

Nozzle:				10

1.1.3 Auxiliary Equipment

Start Devise:				1

Load Gearbox:			1

Aux. Gearbox:				1

Fuel System:				1

Lubrication System:			1

Hydraulic Oil System:			1

Atomizing Air Sys:			1

Cooling Water Sys:			1

Heater:				1

Turbine Fan:				1

Light Oil Mod. Sys:			1

Heavy Oil Pre-treat Sys:		1

Vanadium Inhibit Sys:			1

Water Clean Sys:			1

Flue Gas Baffle Sys:  			1

Electrical Sys;				1

DC Sys:				1

CO2 Extinguishing Sys:		1

1.1.4 Gas Turbine  History

Start Up:				10/29/97

Shut Down:				07/26/07

Total Hours:				34522

HFO Run Hrs:				30272.7

LFO Run Hrs:				4239.7

Start-Ups Attempts:			2793

Ignition Failures:			61

Total; Starts:				2854

Trip Times:				238

Total Output (MWh):			1025355

OH:					3 (01/2000, 02/2002, 01/2008)

Major OH:				2 (02/00, 01/03)

Other Major Repairs:			2 (02/99, 01/03)

Hours Since Major OH:		921

Last Time Trial:			10/19/08

Notice:

1.Unit jiggered 24Hrs each month since shut sown

2. 2006 OH-replaced nozzles, rotor blade, complex rings

1.1.5 Turbine Spare Parts(See appendix)

1.1.6 Special Tools of some

1.1.7 Drawing is complete

1.2 Steam Turbine

Manufacturer:				Nanjing Turbine Electrical Machinery

Model:					L18-3.43-1

Power:					18Mw

Speed:					3000rpm

Main Steam Pressure:		3.43Mpa

Main Steam Temp:			440C

Main Steam Flow:			66.5T/h

Cooing Water Temp:			25C

Steam Turbine Generator

Manufacturer:				Nanjing Turbine Electrical Machinery

Model:					L18-3.43-1

Power:					18Mw

Voltage:				10.5Kv

Current:				123.7A

Frequency:				50Hz

Speed:					3000rpm

Power Factor				0.8

Cooling:				Air

Exciter Voltage:			175V

Exciter Current:			340A

1.2.2 Auxiliary Equipment

1-Condenser:				N-2000-2

1- Shaft Seal Heater:			JQ-16-2

1- Water Jet Air Extractor:		TD-18

1- Oil Cooler:				YL-40

1-Oil Seal:				Ym3

3-Oil Pumps:

4-Water Pumps

1.2.4 Turbine Spare Parts (See appendix)

1.2.5 Special Tools of some

1.2.6 Drawing is complete

1.3 Heat Recovery Steam Generator (HRSG)

Start Date:				10/10/98

Stop Date:				06/26/07

Manufacturer:				Nanjing Turbine Electrical Machinery

Evaporation Capacity: 		68.8T/h

Evaporation Pressure:		3.53MP

Evaporation Temp:			445C

Medium-pressure Air Pocket

Working Pressure(Design):		3.92MP

Low-pressure Rated

Evaporation Capacity:			10.6T/h

Low-pressure Rated

Evaporation Pressure:		0.35MP

Low-pressure Rated

Evaporation Pressure:		147.2C

Feedwater Temp (Design):		147.2C

Condensed Water temp:		40C

HRSG Exhaust Gas Temp:		160C

Exhaust Gas Flow:			491T/h

1.3.2 Main Pressure-containing Member & Auxiliary Equipment

1-Air Pocket:				22m3

1-Med. Press. 	Superheater:		Extended Surface Tube,2.65m3

1-High Press. Vaporizer:		Extended Surface Tube,8.3m3

1-Economizer:				Extended Surface Tube,4.5m3

1-Low-press. Evaporimeter:		Extended Surface Tube,6.8m3

1-Low-press. Seperator:		1.0m3

1-Feed Water Tank:			45m3

1-Overheated Steam Attemperator

6-Water Pumps & Various Safety Valves

1.3.4 HRSG Standby Redundancy

1.3.5 Relative Complete Drawing

1.4 HFO Treatment Equipments

Manufacturer:				Alfa-Laval Germany

Total Flo:				22 m3/h

Flow of each Line:			11 m3/h

Treating Method:			Two Stage Washing Separating Method

1.4.2 Auxiliary Equipment

Transport Mod	 for Demulsifier Unit:	1

Demulsifier Unit:			1

Heating Unit:				1

Scouring Water Unit:			1

Mixing & Separating Mod:		2

Waste Water Treating Sys:		1

Start Date:				Jun 6th,1998

Stop Date:				Jul 26th,2007

Total Running Hours:			24632hs

| Starting Date | Jun 6th,1998 |
| --- | --- |
| Stop Date | Jul 26th,2007 |
| Total Running Hours | 24632hs |

1.4.4 Heavy Fuel Oil Treating Unit Standby Redundancy(see attached)

1.4.5 Complete Special Tools

1.4.6 Complete Drawing

1.5 Chemical Water Treatment Equipment

Start Date:				Jul. 1998

Stop Date:				Jul. 26, 2007

Manufacturer:				CMEE, Shanghai

Outside Boiler H2O:			Handling by first-class desalting water Treatment Method

Inside Boiler H2O:			Handling by first-class desalting water Treatment Method

1.5.2 Main Equipments

1-Clean Water Tank Φ：		6480、V：200M3

2-Activate Carbon Φ：		2000、V：8-12m/h

2-Cation Bed Φ：			1500、V：10-12m/h

2-Anion Bed Φ：			1500、V：10-12m/h

2-Co2 Remover Φ：			800、Q：20t/h

2-Intermediate H2O Tank 		V2.5M3

1-Demineralize H2O Tank 		6480、V：200M3

2-Acid-Base Tank Φ：		1500、V：5M3

1-Acid-Base Tank ：			800、V：0.5M3

1-Ammonia Solut. Tank ：		1M3

9-Pimps

1.5.4 Chemical Water Treatment Equipments Spare Parts (See appendix)

1.5.5 Laboratory Instrument a surname.

1.6 Cooling Tower Equipment

Manufacturer:			 	Zhejiang Lianfeng Group

Cooling Capacity

3-Cooling Fan:			132KW motor

3-Electrical Valve:			 DN600, PN10

Start Date:				1998

Stop Date:				Jul. 26, 2007

1.7 Circulating Water Equipment

Manufacturer:				CMEE, Shanghai

Total Flow:				5256m3/h

2-600S32B Pump:			2628 m3/h、with 250KW、6000V motor

2-Electrical Valve:			DN600, PN10

Start Date:				Sep. 1998

Stop Date:				Jul. 26, 2007

1.8.1 Transformer Specification

1-Low Voltage Plant Transformer

1-Low Voltage Standby Plant Transformer

Manufacterer:				Changzhou Huadi Special Transformer co.,ltd

Model:					SC-2000/6  	SC-2000/6

Rated Capacity:			2000KVA   	2000KVA

Rated Voltage:			6/0.4KV      	6/0.4KV

Cooling Method 			AN 		AN

Connection:				D/YN.11 	D/YN.11

Insulation:				AC25 		AC25

Manufacturing No.:			97-034-066 97-034-065

Commissioned 			September, 1997 September, 1997

Decommissioned:			Operation Operation

1.8.2 Major Equipment

1-6KV Switchgear

1-400V Distribution Cabinet

1-Protection devices

1-DC System:				3GFM2-1000AH 6V

1-UPS System:			20KVA

| 6KV switchgear |  |
| --- | --- |
| 400V Distribution Cabinet |  |
| Protection devices |  |
| DC System | 3GFM2-1000AH 6V |
| UPS System | 20KVA |

1.9 Auxiliary System Equipments

DCS Control System

Supplier:				CMEE. Shanghai

Air Compressor System

2-M22 Screw Compressor		Ingersoll-Rand

2-Heatless Regenerative Dryers	Hangzhou

2-Air storage tanks

1-Foam generator

10-Diesel fire pumps:			200S-95

1-Regulators Pump:			21/2GC-6*3

Fire Extinguishing System

1-Electric Fire Pump:			200S-95 110KW

Supplier:				CMEE. Shanghai