|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1597DSS_TaurasT60_50Hz.doc |  |

5 x NEW Solar T-60 (T60-7901)  5.67 MW  11KV 50Hz Dual Fuel Gas Turbine Packages

Asking price:				US $2.49 MM Each

Electrical Power:					5.67 MW

Heat rate:						10'832 Btu/kW-hr

Fuel input;						17.1 MBtu/s

Efficiency:						31.5 %

Exhaust gas flow: 					48.0 lb/s

Exhaust gas temperature:				950oF

Fuel:							NG/LF/LPG/LBTU

Start System:						AC

Generator Voltage: 					6.3 or 11kV

Combustion System Available: 			S/WI/DLE

Technical Specs of Each GTG package

Gas Turbine Generator Module		Taurus 60 (T60-7901)-1

1.1	Industrial Gas Turbine

Compressor assembly

Turbine and combustor assembly

Combustion system

1.2     	Reduction Gear-1

Two stage, star compound epicyclic type

1.3     	Coupling-1

1.4     	AC Synchronous Generator		50 Hz, 11 kV

Brushless excitation system

Protection:					IP21

Insulation class:				H

Temperature rise class:			F

Self-ventilated air cooled

Accessories and instrumentation

1.5     	Starting System-1

Hydraulic start motor-1

Hydraulic oil filter-1

Hydraulic pump-1

1.6     	Dual Fuel System-1

1.6.1   	Natural Gas Fuel System-1

Gas filter-1

Fuel shutoff valves-2

Fuel control valve-1

Fuel manifold-1

Instrumentation

Internal piping-1

Gas flow meter-1

1.6.2   	Liquid Fuel System

Duplex filter-1

High pressure speed controlled pump-1

Filter-1

Fuel shutoff valves-2

Fuel manifold-1

Air assist system-1

Drain tank-1

Instrumentation-1

Internal piping-1

1.7    	 Water Injection System-1

Water inlet filter-1

Motor driven pump-1

Valves and control devices-1

1.8     	Lubrication System-1

Lube-oil tank-1

Lube-oil heater-1

Main lube-oil pump-1

Pre/post lube-oil pump-1

Lube oil cooler-1

Duplex lube-oil filter-1

Electrostatic vapour extractor-1

Indicators and instrumentation

Internal piping

1.9     	GT Compressor Washing System-off-line and on-line

Water tank-1

Water manifold-1

Instrumentation & Internal piping-1

On-line washing system-1

1.10    	Base Frame-1

1.11    	Vibration Dampers-6

2       	Sound -85dB(A)at1m, green field conditions-1

Air Filtration System

Air filter housing

Alarms & Instrumentation

3.1    	 Combustion air filtration system

3.2    	 Ventilation air filter system

Electric Motor driven air blowers

Pneumatically driven air shutters

4       	Control System

4.1     	TUMATRONIC S4 Turbine Control System-1

Backup Failsafe PLC-1

PC "Real time"-1

PC HMI with touch screen TFT-1

Profibus acquisition modules-1

4.2     	Generator Control, Synchro. & Auxiliary Syst.

Generator measurement unit-1

Generator voltage regulation-1

Generator protection-1

SPM Synchroniser-1

Vibration monitoring system-1

Gas leakage detection system-1

CosPhi Card-1

4.3     	Control System Interface

Signal exchange-1

Standard connection with supervisory control sys installed in customer control room-1

Desktop remote PC-1

Client supervision control system interface data processing excluded-1

5       	Electrical System

5.1    	 AC Supply System

5.2     	DC Supply System-1

24 V/DC battery charger-1

24 V batteries-1 set

24 V distribution bus-1

5.3	Starting Cubicle

6	Fire Detection & Extinguishing. Equipment

Electronic control unit

Infra-red detectors-2

Release push-button-1

Horn & light signalisation-1

Spray nozzles-4

C02 bottles-4