|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Inventory.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1654GR_2LM5000CC_60Hz.doc |  |

2 x 1 On 1  LM5000 100 Mw Gas Turbine CC Gas 60Hz Power Plant

Asking Price:		US 4.35 MM

YOM:			1991

Gas Turbine Generator #1

Package:						Stewart & Stevenson

Turbine  Manufacturer / OEM:			GE Aircraft Engines

Serial number:						474-161

Model:							LM5000-GD-NGA

Rating:							42024Kw

Time Since Overhaul:					8716 hrs

Meter hours:						25,738

Hot Section Hours:					8716

Total GT Hours:					53,786

Fuel:							Natural Gas

Heat Rate:						10,506 BTU/KWH

Plant:							9075 BTU

Steam Adjusted:					7815 BTU

Power Turbine

GEC Gas Turbines Limited of England

Model:					                           T-5000-1

3 Stage free spinning design

Generator:						BRUSH

Model:							61404A-1G

Frame Size:						8DAX 75 - 290E

Output MVA:						34.8

Power factor:						1.0

Voltage:						13800

Frequency:						60

Speed:							3600

Specification:						ANSI C 50-14

Download Unit No. 1 Operating Record

Gas Turbine Generator #2

Package: 						Stewart & Stevenson

Turbine     Manufacturer / OEM:			GE Aircraft Engines

Serial number:						474-160

Model:							LM5000-GD-NGA

Rating:							42024Kw

Time Since Overhaul:					12,270 hrs

Meter hours:						2,087

Hot Section Hours:					1319

Total GT Hours:					53,976

Fuel:							Natural Gas

Heat Rate:						10,506 BTU/KWH

Plant:							9075 BTU

Steam Adjusted:					7815 BTU

Power Turbine

GEC Gas Turbines Limited of England

Model:					                           T-5000-1

3 Stage free spinning design

Generator:						BRUSH

Model:							61404A-2G

Frame Size:						8DAX 75 - 290E

Output MVA:						34.8

Power factor:						1.0

Voltage:						13800

Frequency:						60

Speed:							3600

Specification:						ANSI C 50-14

Download Unit No. 1 Operating Record

LM5000 Gas Turbine Spare Parts

Elliot Steam Turbine Generator

Model:  						2SQNV13

Serial No. Shop Order No,:	 			C004015

TURBINE SPEED:

Rated:							3600 rpm

Idle Speed:						1200 rpm

Minimum Governor Speed:				3420 rpm

Maximum Governor Speed:				3780 rpm

Overspeed Trip (Electrical):				3888 rpm

Overspeed Trip (Mechanical):			3960 rpm

1st Calculated Critical:				2100 rpm

2nd Calculated Critical:				5700 rpm

Generator Speed:					3600 rpm

Maximum Extraction Flow:				150,000 lb/hr

RATED POWER:					16,430kW

GOVERNOR:

Type:							WOODWARD 505E

Speed Range						3420	to	3780rpm

3	to	15psi

4	to	20ma

RATED

Inlet Pressure:						650psig

Inlet Temperature:					675°F

Extraction Pressure:					175psig

Extraction Temperature:				473°F

Exhaust Pressure:					2.25"HgA

CONSTRUCTION:

Inlet Pressure:						650psig

Inlet Temperature:					680°F

Extraction Pressure:					280psig

Extraction Temperature:				533°F

Exhaust Pressure:					15psig

SHAFT ROTATION:   				Clockwise Viewed from Governor End

Elliot  ST-G Operating Record

2ed Elliot ST-G available Along With Spares to OH