|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1658TA_FM7TA_60Hz.doc |  |

3 x 2008 New GE Fm 7EA 84Mw 13800V 60Hz Dual Fuel Power Plants

Actual equipment in Storage Photos

Completed Exemplar Photo

Asking Price:			US $15.5 MM each

Warehoused

Rating:				84 MW 
Voltage:			13.8 KV/13,800 V
Frequency:			60 HZ
 Power Factor:			95 P.F.
Fuel:				Dual Fuel - HFO FUELED GAS
Nox System:			Water Injected Nox CONTROL
Generator:			TEWAC

Under Construction Exemplar Photo

GE Scope Of Supply

1 Gas Turbine Systems

1.1 Gas Turbine
Base-mounted gas turbine including:
Modulating IGV (inlet guide vanes)

1.2 Combustion System
- Single-nozzle combustion system
- Combustion system features
- Nimonic transition pieces
- Extendor hardware
- Reuter Stokes SiC flame detectors
- Water injection for NOx control
- Liquid fuel
- Off base water injection skid with:
- Enclosure
- Space heater
- Water injection pump with variable frequency drive
- Dual full size water injection pumps with variable frequency drive
- Water filter
- Dual full flow water filters
- Stainless steel water injection piping (GT unit)

Under Construction Exemplar Photo

1.3 Fuel Systems
1.3.1 Liquid Fuel System

Dual liquid fuel
- Crude and distillate
- Stainless steel fuel oil piping
- Duplex HP fuel strainers off-base
- Main liquid fuel filter differential 
- Shaft driven atomizing air compressor
- Shaft driven main liquid fuel pump
- Main liquid fuel pump inlet pressure transducer, 96LP
- Crude oil electric heater skid (lOOF temperature rise)
- Dual fuel selection/filtration skid
- Duplex basket strainers with differential pressure switches
- Pressure regulator valves with downstream pressure switches
- Fuel flowmeters
- With pulse generators for remote indication of fuel flow
- Fuel selection valve
- Self-cleaning motorized strainer with differential pressure switch and isolation valves
- A second motorized strainer for redundant strainer capacity
- Duplex filter with differential pressure switch
- Thermal relief valves
- Fuel additive injection system, includes calibration tube, dosing pumps and control
- Oil based vanadium inhibitor
- Fuel additive storage tank on the fuel selection skid
- Carbon steel fuel oil piping upstream of the duplex filter, stainless steel fuel oil  piping downstream, including the injection system
- Structural steel base
- Fuel selection skid weatherproof enclosure

1.4 Lubricating and Hydraulic Systems
1.4.1 Pumps

- Shaft driven main lube oil pump
- Shaft driven main hydraulic pump
- AC motor driven, auxiliary lube oil and hydraulic pumps
- DC motor driven, emergency lube oil pump

1.4.2 Filters and Coolers
- Dual lube oil system filters
- Dual hydraulic oil filters
- Dual lube oil coolers
- With 90-10 copper-nickel U-tubes

- ASME code stamp
- Lube oil coolers
- Lube oil filters

1.4.3 Lube Oil Piping

- 304L stainless steel lube oil feed pipe
- Carbon steel lube oil drain pipe
- Lube system valve stainless steel trim
- Schedule 10 lube oil piping inside lube oil tank
- Automatic GMAW or GTAW root pass weld, lube oil feed and drain piping.

1.4.4 Mist Elimination

- Lube vent demister

1.4.5 Oil Reservoir

- With heater for -20*F (-29*C) ambient temperature

1.4.6 Instrumentation
- Delta pressure switches for alarm for lubrication and hydraulic oil filters
- Lubrication oil header pressure transmitter
- Lubrication oil tank level transmitter
- Lubrication oil filter differential pressure transmitter
- Hydraulic oil differential pressure transmitter
- Hydraulic oil supply pressure transmitter

1.5 Inlet System

- Inlet system arrangement
- Up and forward inlet system arrangement
- Inlet compartment
- Self-cleaning inlet filter
- Horizontal Filter Elements
- Compressor bleed air supply for filter cleaning
- Severe duty filter media (high humidity/corrosive environments)
- 50 micron moisture separator
- Coalescing filters
- Inlet compartment local differential pressure indicator (gage) across each stage of filtration and overall filter compartment system
- Inlet compartment differential pressure alarm
- Three thermocouples for inlet air temperature measurement
- Inlet filter compartment support steel (Seismic Zone 4, <= 120 mph wind speed loads per USC 1997)
- Caged ladder access to inlet filter compartment system

- Inlet compartment differential pressure alarm
- Three thermocouples for inlet air temperature measurement
- Inlet filter compartment support steel (Seismic Zone 4, <= 120 mph wind speed loads per USC 1997)
- Caged ladder access to inlet filter compartment Left hand access to inlet filter compartment
- Dust collection kit under each module with auger Electric hoist with 500 lb lift capacity
- Inlet filter compartment interior lighting
- Air processing unit (APU) for filter cleaning
- With 304 stainless steel piping and dual filters
- APU heat tracing kit if required due to site minimum ambient temperature rating
- Inlet ducting
- Inlet duct section arrangement per proposal mechanical outline
- Empty unlined inlet ducting
- Including empty ducting for mounting extraction air fans for turbine compartment pressurization and blowers to supply filtered air to the  exhaust frame area
- Inlet silencing
- Inlet 90 degree elbow Inlet transition piece Inlet expansion joint
- Inlet ducting support steel (Seismic Zone 4, <= 120 mph wind speed  loads per USE 1997)- - - (Refer to proposal drawing for scope)
- Outdoor unit
- Compressor inlet humidity sensor
- Triple redundant sensors
- Compressor inlet temperature thermocouple
-Inlet system atmospheric protection
- Zinc rich paint inside and outside of inlet filter compartment
- Two-part epoxy overcoat inside and outside inlet filter compartment
- Zinc rich paint inside and outside of inlet ducting with two-part epoxy overcoat on all inside surfaces exposed to airflow as well as all outside surfaces
- Galvanized, galvannealed or carbon steel with zinc-rich primer for all interior surfaces not exposed to airflow
- Corrosion-resistant inlet silencing perforated sheet
- Galvanized inlet support steel

1.6 Exhaust System

1.6.1 Arrangement

- Exhaust plenum with right side exit (3 Units base and 1 unit option)
- Exhaust plenum with left side exit (3 Units base and 1 unit option)
- Exhaust expansion joint with wing and cowl
- Exhaust system materials and atmospheric protection
- Carbon steel exhaust system shell and stiffeners
- 409 stainless steel internal lagging
- Inorganic zinc primer

1.7 Couplings

- Oil filled accessory coupling
- Rigid load coupling
- Load coupling guard

1.8 Gas Turbine Packaging

Lagging and enclosures
- Turbine and accessory compartment lagging (on-base)
- Load coupling compartment lagging (on-base)
- Acoustic barrier wall around turbine and accessory compartments
- Acoustic barrier wall along exhaust plenum and load compartment. Generator and GNAC
- External junction boxes
- Stainless steel junction boxes, rated NEMA 4Xor glanded IP56, dependent on whether wiring is compliant with NEC or IEC standards
- Cast aluminum may be substituted as needed for flame-proof enclosure requirements, as determined by the hazardous area map for the project
- Compartment ventilation, pressurization and heating
- Turbine, accessory, and load compartment pressurization
- Compartment pressurization air from GT inlet
- Heated turbine and accessory compartments for humidity control
- Ducting and support works
- Plant arrangement
- Turbine designed for installation outdoors In-line accessory module
- Mounting pads only; exterior until walkways are not part of the power train scope of supply

Base painting
- Standard prime only- UBC 1997 Seismic Zone 5 loads
- Hazardous area classification 
- NEC Class!. Group D, Division 2
- Turbine compartment
- Accessory compartment
- Special features
- Black set of nameplates for on-site engraving by others
- Dual (metric-English) indicators and gauges

1.9 Fire Protection System

- Fire detection system - heat detectors

Turbine compartment
- Accessory compartment
- Load coupling compartment
- Number 3 bearing tunnel
- Smoke detection system
- Control cab/PEECC
- Hazardous atmosphere sensors in compartments ~ CHx sensors-accessory compartment
- CHx sensors - turbine compartment
- Hazardous atmosphere detector readout
- CHx
- Compartment warning signs
- Compartment exterior alarms
- Local CO2 mechanical lockout
- Local manual fire protection discharge
- CO2 supply system
- One low pressure CO2 tank per unit
- Tank suitable for 0-120*F (-18 to 49*C)
- Tank to be located in a shelter (not part of the power train scope ofsupply), for ambient temperature above 120*F (49*C)
- Fire protection piping
- Purchaser's connections on left side of the units (4 Units) and right side of unit (4 Units). The total of 8 units includes the 2 optional units.
- Turbine compartment
- Accessory compartment
- Load coupling compartment
- Number 3 bearing tunnel
- FM-200 fire protection piping for the PEECC
- Hazardous atmosphere sensors in compartments ~ CHx sensors – accessory compartment
- CHx sensors - turbine compartment
- Hazardous atmosphere detector readout
- CHx

1.10 Cleaning Systems

- On system base piping for on and off-line compressor water wash
- On base piping for off-line turbine water wash system
- Water wash skid
- Turbine water wash capability
- Water storage tank and freeze protection Stainless steel tank
- Two Water Wash skids for the site ( 6 base Units and 2 Optional units)


- One skid can be connected to up to four units, washing one unit at a time

(on base storage tank sized for one off-line wash)

1.11 Cooling Water System

- Cooling system temperature regulating valve
- Industrial, off-base cooling water system
- Aluminum fin material with carbon steel tubes
- Corrosion protected cooling skid support structure
- System suitable for:
- Water plus additives coolant

1.12 Starting Systems
- AC motor start
- Rotor turning systems
- Rotor indexing (borescope inspection)
- Non self-sequencing, hydraulic ratchet

2 Generator
2.1 General Information
- Totally enclosed water-to-air cooled (TEWAC) generator
- Outdoor installation
- 60 Hz generator frequency
- Generator voltage 13.8 kV
- 0.80 power factor (lagging)
- Capability to 0.95 power factor (leading)
- Class "F" armature and rotor 
- Class "8" temperature rise, armature and rotor winding Generator bearings
- Pedestal bearing support
- Tilting pad bearings
- Roll out bearing capability without removing rotor
- Insulated collector end bearing
- Off-line bearing insulation check with isolated rotor
- Monitoring Devices
- Two (2) velocity vibration probes at turbine end, one (1) at collector end
- Provisions for key phasor-generator
- Permanent flux probe
- Proximity vibration probes
- Two probes per bearing at 45* angle
- Generator Field
- Direct cooled field
- Two-pole field
- Finger type amortissuers

2.2 Generator Gas Coolers
- Cooler assembly shipped separate
- Generator gas cooler configuration

- Two (2) horizontally mounted duplex coolers
- Coolers located on generator roof
- Cooler piping connections on left side as viewed from collector end
- ASME code stamp
- Single wall cooler tubes
- Raised cooler face flanges
- Plate fins
-Generator gas cooling system characteristics
- Coolant temperature
- 20*F approach
- Generator capacity with one section out of service 80% with Class "F" rise
- TEMA class C coolers
- Maximum cooler pressure capability -125 psi Coolant 100% fresh water
- Fouling factor 0.001
-Generator gas cooler construction materials
- 90-10 copper-nickel tubes
- Carbon steel tube sheets
- Carbon steel waterbox and coupling flanges with epoxy coating
- Aluminum cooler tube fins

2.3 Generator Lube Oil Systems and Equipment
-Bearing lube oil system
- Generator lube oil system integral with turbine
- Pre-fabricated factory fitted lube oil pipe
- Sight flow indicator
-Bearing vapor extraction
- Vapor extractor and motor
- Coalescent mist eliminator
- Lube oil system piping materials
- Stainless steel lube oil feed pipe Stainless steel lube oil drain pipe
- Welded oil piping

2.4 Generator Grounding Equipment
Neutral grounding equipment
- Neutral ground transformer and secondary resistor
- Mounted in terminal enclosure

2.5 Generator Temperature Devices
- Stator winding temperature devices
- 100 ohm platinum RTDs (resistance temperature detector)
- Single element RTDs
- Grounded RTDs
- Six (6) stator slot RTDs
- Three (3) extra stator RTDs in separate slots
- Gas path temperature devices

- 100 ohm platinum gas path RTDs
- Dual element temperature sensors
- Two (2) cold gas
- Two (2) hot gas
- Bearing temperature devices
- Chromel alumel (type K) thermocouples
- Dual element temperature sensors
- Two (2) bearing metal temperature sensors per bearing
- Lube oil system temperature devices
- Chromel alumel (Type K) thermocouples
- Dual element temperature sensors
- One (1) bearing drain temperature sensor per drain

2.6 Packaging, Enclosures, and Compartments

- Paint and preservation
- Epoxy based primer
- Line-side terminal enclosure
- Terminal enclosure shipped separate
- Collector compartment/enclosure
- Collector compartment/enclosure shipped installed
- Generator Terminal Accessories
- Surge capacitors
- Compartment lighting and outlets
- AC lighting
- Turbine end
- Collector compartment
- DC lighting
- Turbine end
- Collector compartment
- Convenience outlets
- Collector compartment
- Foundation hardware
- Generator alignment fixators
- Generator alignment key(s)
- Collector en Generator alignment pin(s) - turbine end

2.7 Electrical Equipment

- Motors

- TEFC motors
- Coated with antifungal material for protection in tropical areas
- Energy saver motors
- Extra severe duty motors
- Cast iron motor housings
- Heaters
- Generator stator heaters
- Generator collector heaters
- Terminal enclosure heaters

2.8 Generator Excitation Systems, Static Components

- EX2100 brushless field excitation regulator
- With permanent magnetic generator (PMG)
- With redundant regulator

2.8.1 Excitation Module Features
- Control/monitor/display through turbine control panel
- Voltage matching in turbine control system
- Power factor controller in turbine control system
- Var controller in turbine control system
- Selection of automatic or manual regulator
- Raise lower of the active regulatorsetpoint
- Enter setpoint command
- Display field amps
- Display field volts
- Display transfer volts
- Redundant Ethernet link to turbine control panel
- Built-in diagnostic display panel
- Automatic voltage regulator (AVR)
- Manual voltage regulator (FVR)
- Automatic and manual bi-directional tracking Reactive current  compensation (RCC)
- Volts per hertz limiter (V/Hz LlM)
- Volts per hertz protection (24EX) (Backup to 24G) Over excitation limiter (OEL)
- Off-line/on-line over excitation protection (76EX) Loss of excitation protection (40EX)
- Bridge ac phase unbalance protection (47EX) Under excitation limiter (UEL)
- Generator overvoltage protection (59EX)
- Generator field ground detector trip (64FT)
- Dual VT inputs
- Field over-temperature alarm
- Field ground detector alarm (64FA)
- Exciter phase voltage imbalance (47EX)
- Bridge over-temperature (26EX)
- Field voltage, field current, auto/manual transfer voltage, field temperature, 4-20 ma outputs
- Local operator interface, panel mounted
- Dual source internal bulk power supply
- Millivolt shunt for field
- Surge protection
- Two phase current sensing
- Three phase voltage sensing 
- Single pole dc field contactor/bridge
- Power system stabilizer

2.8.2. Performance 
- 0.5 response ratio 

2.9 Generator Medium Voltage Enclosure

- Metal clad switchgear compartment
- 1S00 MVA/SOOA at 40"C generator breaker
- Ground switches 2 No
- Kirk-Key interlocks
- Breaker rollout
- Dual generator breaker trip coils
- Lightning arresters
- Surge capacitors
- Power leads straight through switchgear compartment
- Roof entrance bushings for outgoing power connection

2.10 Generator Current Transformers and Voltage transformers

- Current transformers (CTs) 1 Amps Secondary
- C400 relaying current transformers (CTs) or 100VA-SP20 rating per IEC  60044, as show on proposal
- One-line diagram
- Metering Class - 0.3B-1.8 (ANSI CS7.13) or 0.25 (IEC 60044) as shown on the proposal one-line diagram
- Line side CTs
- CT 16, 17, 18 (miscellaneous functions)
- CT 21, 22, 23 (generator differential relay)
- CT 60, 61, 62 (breaker failure relay)
- CT 24, 25, 26 (One set for two units)
- CT 27, 28, 29 (One set for two units)
- Neutral CTs
- CT1 through 9
- CT10, CT11, CT 12
- Voltage transformers (VTs)
- Draw out
- VT1, breaker high side
- VT2, generator line side
- VT4, generator line side

2.11 Bus duct

- Non-segregated, per proposal outline drawing

- Partial discharge (PDA) coupler in busduct
- One PDA analyzer for two units

3 Gas Turbine Control System Panel Features

- Triple Module Redundant (TMR) SPEEDTRONIC Mark VI
- Redundant unit data highway (UDH)
- Auto/manual synchronizing module with synchronizing check function
- Generator stator overtemperature alarm (49)
- Isochronous control
- load limiter
- Purge cycle
- Dead load pickup
- Island mode operation for DNL units
- Customer alarm/trip contact for CRT display
- Additional customer input contacts (digital, as available)
- Additional customer output contacts (digital, as available
- Provision for analog inputs from customer, as available
- Provision for analog outputs to customer, as available
- Maximum of 12 RTDs inputs for customer use
- Power source selector
- Totalizing fuel flows
- Vibration alarm readout and trip
- Electrical overspeed protection
- Constant settable droop
- Power factor calculation and display
- Power factor control
- VAR control
- VARS shedding
- Tie-line VAR control
- Manual set point preselected load
- External load setpoint 4-20 mA control
- Airflow calculation and readout
- Inhibit/initiate auto synchronization from remote location
- Time synch
- Time input signal for devices on the power train network is not part of
the power train scope of supply

3.3 Local Operator Station

- Commercial grade personal computer
- PC table
- Color monitor
- Table top
- 20 in. LCD monitor or equivalent
- Mouse cursor control
- Printer
- Network color inject
- Table top keyboard
- Display in English language
- Unit Ethernet equipment

3.4 Generator Protection Panel 

3.4.1 Generator Protection Panel Hardware

- Mounted in PEECC
- DGP with redundant internal power supply
- GE Multilin T60 Transformer Management Relay
- Generator Digital Multimeter
- Lockout relays
- Test switches (per one-line)
- Generator breaker trip switch (52G/CS) and lamps
- Gas auxiliary monitoring panel (GAMP)

- Humidity sensor readout
- Hazardous atmosphere detector readout
- Bently Nevada 3500 vibration monitor

3.4.2 Generator Management Relay (G60)

- Generator overexcitation (24)
- Phase undervoltage (27P)
- Reverse power/anti-motoring (32)
- Loss of excitation (40)
- Current unbalance/negative phase sequence (46)
- Phase time overcurrent (51PV)
- Neutral ground overvoltage (stator Earth Fault Protection) (64G)
- Phase overvoltage (59P)
- Stator ground protection. (Third harmonic) (27TN)


- Site data required for setting
- Generator over frequency (810)
- Generator under frequency (81U)
- Phase Distance (21)
- Out of Step (78)
- Stator differential (87S)
- Voltage transformer fuse failure (VTFF)

3.4.3 Breaker Management Relay (C60)

- Inadvertent energization (50/27)

- Breaker failure with timer (50/62BF)
- Breaker failure (50BF)
- Bus ground detection (59BN)
- Voltage transformer fuse failure (VTFF)

3.4.4 Transformer Management Relay (T60)

- Restraints as per one line diagram
- Unit differential (87U)(One for two Units)
- Transformer differential (87T)
- Transformer neutral overcurrent (51TN)
- Latch output contact for transformer fault pressure (63PTX)

3.4.5
Note: Refer to proposal one-line diagram for complete discrete relay scope

- Generator protection lock-out relay (86G1A)
- Generator protection lock-out relay (86G2A)
- Generator protection lock-out relay (86G1B)
- Generator protection lock-out relay (86G2B)
- Inadvertent energization lock-out relay (86IE)
- Breaker failure lock-out relay (86BF)
- Unit differential lock-out relay (86U) (One for two units)
- Transformer differential lock-out relay (86T1)
- Transformer differential lock-out relay (86T2) (By other unit)
- Breaker Cross tripping dual breaker trip coils (94GB-1,2)
- Breaker status auxiliary relay (52GX-I)
- Second breaker synchronization for series breaker-breaker/VT selection switch (83LBSX-1,2,3)
- Dead bus (dead load) breaker closure
- Integral to C60 Breaker Management Relay
- Synchronization voltage check
- Integral to C60 Breaker Management Relay
- Redundant to turbine control system synch check, integrated with turbine control synchronization system

3.4.6 Features Integrated Into Gas Turbine Control System
- Gas turbine control system with speed matching, synchronization and check
- Manual synchronization displayed on gas turbine control system  operator interface
- Auto/manual synchronizing module with generator voltage matching displayed on gas turbine control system operator interface
- Load control in gas turbine control system
- Temperature indication for generator RTDs

3.4.7 Features Integrated Into Gas Turbine Control System

- Generator digital multimiter (Nexus) Generator volts
- Generator Amps: Phase 1,2,3 and Neutral
- Generator Watts
- Generator VARs
- Generator frequency
- Generator VA
- Generator power factor
- MWH - Generator Watt-Hours MVAH
- Auxiliary Transformer MVA Hours

- Revenue class metering for bus and auxiliary transformer

3.4.8 Generator Protection Panel Outputs


- Nexus meter with KYZ pulse output module (field configurable)
- Generator watt VAR transducer 4-20 mA output for input to TCP (96GG-II)
- Generator TCP/droop control transducer 4-20 mA output (96GW-II)
- Nexus meter with three modules of 4 configurable channels of 4-20 mA  signals
- Generator watt VAR 4-20 mA output (96GG-21)
- Generator power factor 4-20 mA output (96GP-II)
- Generator VAR 4-20 mA output (96GR-II)
- Generator volts 4-20 mA output (96GV-1.2, 31)
- Generator frequency 4-20 mA output (96GFII)
- wATTS 4-20 Ma OUTPUT (86GW-II)
- Amps 1 PH 4-20 mA output (96GA-1.2, 31)

3.5 Generator Protection
- Generator electrical protection equipment Ground brush rigging

3.6 Batteries and Accessories

- NiCad battery
- Two three phase battery charger
- battery and charger mounted in the control compartment
- 125 DC Panel

3.7 Motor Control Center

- MCC mounted in control compartment
- Silver plated copper bus work
- 65 kA bracing

3.8 Remote Control and Monitoring Systems

- HMI Ethernet communications link using GSM protocol
- Site Ethernet equipment in central control room
- Remote HMI. multi-unit control - two per site
- Commercial grade personal computer
- Color monitor - table top
- 20 in. LCD monitor
- Mouse cursor control
- Table top keyboard - printer
- Color laser jet network printer - One

3.9 Rotor, Bearing and Performance Monitoring Systems

- Performance monitoring systems
- Air flow measurement sensors wired to gas turbine control system
- Gas turbine performance monitoring calculations in operator interface
- Generator performance curves on operator interface

- Vibration sensors
- Velocity vibration sensors
- Proximity vibration sensors
- GE proximity vibration sensor monitoring
- In the SPEEDTRONIC Mark VI panel 
- HMI display
- Bearing thermocouples
- Bearing metal thermocouples
- Borescope access holes
- Bently Nevada System 1 TGVAS
- Software for gas turbine/generator(s)

3.10 Motor Features

- TEFC motors less than or equal to 200 hp
- Coated with antifungal material for protection in tropical areas
- High ambient motor insulation
- Energy saver motors
- Extra severe duty motors
- Cast iron motor housings
- All redundant motors to be lead/lag
- Motor heaters connected to AC power, for all motors greater than 1 hp
- WP motors > 200 hp
- NEMA Class F insulation, Class B temperature rise
- Motor service factor 1.15 at 40*C
- WP starting motor