|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1671RC_FmPG6541CC_60Hz.doc |  |

1 x GE PG6541B 63520Kw Dual Fuel 13.8Kv 60Hz Combined Cycled Power Plant

Asking Price:		$5.25 MM

Plant Performance
Ambient Temperature: 			48 Deg F 
Fuel: 						Natural Gas/Diesel 
Gross Output: 					63,520 Kw 
Plant Heat Rate: 				8,900 Btu/Kwh 
Plant Net Output: 				61,275 Kw @ 7,763 Btu/Kwh

Gas Turbine Generator Set

Gas Turbine
Manufacturer:					General Electric
Model Number: 				PG6541B
Type: 						Continuous 
Packaged By: 					GE
Rating (Base/Peak):				40,910 Kw
Inlet Temperature: 				48 Deg F
Speed: 					5,100 Rpm
Fuel: 						Natural Gas/Liquid
Inlet Air: 					Inlet Air Cooled
Nox Reduction: 				Water Injected

Gear Reducer
Manufacturer: 					Westech 
Rating: 					68000 Hp
Speed: 					5100/3600 Rpm

Generator
Manufacturer: 					General Electric 
Type: 						Tewac 
Rating: 					47,700 Kva
Voltage: 					13800 V, 3phase, 60 Hz
Speed: 					3600 Rpm
Pf: 						0.9
Armature Amps: 				1845 Amps
Insulation Class: 				F/F (Stator/Rotor)

Control:				 	Mark IV Speedtronic
Black Start: 					Diesel Engine 
Fuel: 						Natural Gas/Diesel

Nox Control: 					Water Injected

HRSG
Manufacturer: 					Nooter/Eriksen
Rating: 					172,600 Lbs/Hr
Hp Steam: 					1300 Psig/950 Deg F
IP Steam: 					190 Psig/450 Deg F
Emission Control: 				Ammonia Injection

Year Built:					1990

Year Shutdown: 				Still Connected
Total Life Time Hours 			84,936 Hours
Total Life Time Starts: 			1,182

Hours Since Last Major Overhaul 1999: 	27104 Hours
Starts Since Last Major Overhaul 1999: 	714 
Hours Since Last Hot Gas Path Inspection: 	3,226

Steam Turbine Generator
Manufacturer					ABB Vax Axial Exhaust 
Rating: 					22610 Kw
Pressure Temperature Flow 			1300 Psig
Inlet Steam: 					950 Deg F 172,600 Lbs/Hr
Exhaust Steam: 				0.74 Psia 
Process Steam: 				22,515 Lbs/Hr @ 180 Psig

Generator
Manufacturer: 					ABB
Rating: 					27,300 Kva
Voltage: 					13800 V, 3 Phase, 60 Hz
Pf: 						0.9
Speed: 					1800 Rpm
Armature Amps: 				1144 Amps
Exciter: 					Brushless, PMG
Type: 						Tewac

Natural Gas Pressure Inlet To Gas Compressor: 90 Psig 

Scope Of Supply Complete Plant With Fuel System, Water System Etc
Cooling Tower, Liquid Fuel Tank And Pumping System From Tanker, Ammonia

Injection System, Gas Compressor, Plant Air Etc.