|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1729JC_ABB_STG_60HZ.doc |  |

1 x “0” 25.5Mw 60Hz ABB Steam Turbine, Generator & Auxiliaries

***Offer Includes Steam Turbine / Generator and Auxiliaries as well such as lube oil system, hydraulic oil system, controls, pumps, motors, electrical, etc.

***Generator unit has ZERO hours back up spare that ended up never being put into operation.

Asking Price:				 US $2.85MM

STEAM TURBINE 			ABB VAX with Steam Bypass

Operates @:				1474 psia, 951°f, 231 klb/hr

Speed:				3600 RPM

YOM:					1989

GENERATOR			ABB Generation

Phase/Hz:				3 ~ 60 Hz

Type:					GTL 1050 EA

S/N					No. 7253 228

Rating:				31930 kVA / 25544Kw

Speed:				3600 rpm

Voltage:				13110-14490 v

Exc. 					80 V	1335 A

Temp.Class:      			Stator B, Rotor B

Insul. Class:      			Stator	F, Rotor F

ANSI C50.13-1977

YOM:					1989